	Date 
	Water levels

(upstream) metres
	Water levels

(downstream) 
metres
	Rate of flow

(inflow)

 (m3/s)
	Rate of flow

(outflow) 
(m3/s)

	February 01
	
	
	 
	 

	     02
	
	
	 
	 

	     03
	
	
	 
	 

	     04
	
	
	 
	 

	     05
	
	
	
	 

	     06
	170.00
	39.98
	 7100
	 6370

	     07
	169.81
	39.89
	 7100
	 6380

	     08
	169.69
	39.92
	 5500
	 6400

	     09
	169.67
	39.57
	 5500
	 4880

	     10
	
	
	 
	 

	     11
	
	
	 
	 

	     12
	169.10
	40.29
	 5200
	 5560

	     13
	168.92
	40.68
	 5000
	 8050

	     14
	168.72
	40.35
	 5000
	 5680

	     15
	168.54
	40.48
	 4900
	 5560

	     16
	168.43
	39.99
	 5000
	 4900

	     17
	168.12
	40.12
	 4900
	 5580

	     18
	167.99
	40.00
	 4900
	 5570

	     19
	167.82
	40.34
	 4900
	 6520

	     20
	167.71
	40.00
	 5000
	 5680

	     21
	167.62
	40.18
	 5300
	 5950

	     22
	167.45
	39.83
	 5400
	 5570

	     23
	167.23
	39.83
	 5000
	 5750

	     24
	166.93
	40.40
	 5000
	 7890

	     25
	166.93
	39.90
	 4800
	 5520

	     26
	166.82
	39.90
	 5100
	 5540

	     27
	166.60
	39.62
	 5300
	 7880


NOTE:  

1) The data from the web site of the Three Gorges Group not available for now: https://www.ctg.com.cn/sxjt/index2/index.html, so no data for the period from Feb 01 to Feb 05, and from Feb 10 to 11.
2) Water levels (downstream) not the levels recorded below the dam in the dam site, but the levels at Yichang City, about 40 km downstream of the dam.
3）The current numbers are from two sources, including the Changjiang Hydrology, a department of the Changjiang Water Resources Cmmission: http://www.cjh.com.cn/; and the site of the Ministry of Water Resources: http://xxfb.mwr.cn/sq_dxsk.html
