	Date 
	Water levels

(upstream) metres
	Water levels

(downstream) 
metres
	Rate of flow

(inflow)

 (m3/s)
	Rate of flow

(outflow) 
(m3/s)

	 July 01
	145.99
	44.71
	20000
	17900

	     02
	146.87
	44.62
	22500
	18700

	     03
	146.48
	46.77
	21000
	26900

	     04
	146.40
	46.24
	20500
	24700

	     05
	145.89
	46.92
	21000
	24400

	     06
	145.45
	47.63
	24000
	26200

	     07
	147.08
	47.80
	32000
	31900

	     08
	146.43
	48.25
	26000
	30900

	     09
	146.21
	47.99
	27000
	29400

	     10
	146.46
	47.60
	24500
	23400

	     11
	146.46
	48.14
	26000
	31100

	     12
	146.45
	48.48
	36500
	30700

	     13
	148.70
	48.43
	36500
	29900

	     14
	149.30
	48.79
	30800
	31800

	     15
	148.37
	48.80
	22500
	32100

	     16
	147.24
	48.74
	26000
	31100

	     17
	147.05
	48.79
	37500
	31900

	     18
	149.26
	48.61
	43500
	30400

	     19
	150.71
	48.43
	34500
	30200

	     20
	150.92
	48.50
	29200
	30000

	     21
	150.55
	48.69
	27000
	30900

	     22
	149.65
	48.53
	24500
	30900

	     23
	148.52
	48.51
	23300
	31100

	     24
	147.35
	48.36
	21800
	30100

	     25
	147.01
	47.15
	21000
	21100

	     26
	147.00
	46.70
	22500
	25200

	     27
	146.59
	47.67
	23000
	26700

	     28
	146.03
	47.65
	20500
	26900

	     29
	146.24
	46.65
	20500
	23000

	     30
	146.12
	46.29
	19500
	19100

	     31
	146.74
	44.14
	18500
	16100


NOTE:  

1) Water levels (downstream) not the levels recorded below the dam in the dam site, but the levels at Yichang City, about 40 km downstream of the dam.
2）The current numbers are from two sources, including the Changjiang Hydrology, a department of the Changjiang Water Resources Cmmission: http://www.cjh.com.cn/; and the site of the Ministry of Water Resources: http://xxfb.mwr.cn/sq_dxsk.html
