	Date 
	Water levels

(upstream) metres
	Water levels

(downstream) 
metres
	Rate of flow

(inflow)

 (m3/s)
	Rate of flow

(outflow) 
(m3/s)

	 Sept 01
	158.83
	47.83
	29000
	27400

	     02
	158.81
	47.81
	26500
	27400

	     03
	159.16
	47.55
	31000
	26500

	     04
	159.90
	47.22
	30000
	25700

	     05
	160.37
	47.60
	32000
	26800

	     06
	162.62
	47.60
	55000
	28100

	     07
	167.44
	48.62
	54000
	31300

	     08
	167.71
	48.67
	45000
	30800

	     09
	168.01
	49.20
	28000
	32900

	     10
	166.91
	49.31
	22500
	33100

	     11
	166.06
	49.39
	24500
	33300

	     12
	165.32
	49.00
	26000
	31400

	     13
	164.91
	48.89
	27500
	31400

	     14
	164.18
	48.96
	26500
	31700

	     15
	163.53
	48.99
	22500
	31800

	     16
	162.67
	48.67
	23500
	30000

	     17
	162.74
	48.99
	39000
	32100

	     18
	164.03
	48.01
	38500
	27600

	     19
	165.97
	47.25
	47000
	25000

	     20
	167.54
	46.88
	40000
	24600

	     21
	168.94
	46.68
	34000
	24200

	     22
	169.10
	46.73
	26000
	24200

	     23
	168.91
	46.68
	21000
	24200

	     24
	168.55
	46.72
	20000
	24300

	     25
	168.19
	46.80
	21000
	24400

	     26
	168.05
	46.79
	22500
	24500

	     27
	167.38
	47.76
	21500
	28800

	     28
	167.67
	48.17
	33500
	28800

	     29
	168.94
	46.93
	37000
	24300

	     30
	169.98
	46.70
	34000
	24000


NOTE:  

1) Water levels (downstream) not the levels recorded below the dam in the dam site, but the levels at Yichang City, about 40 km downstream of the dam.
2）The current numbers are from two sources, including the Changjiang Hydrology, a department of the Changjiang Water Resources Cmmission: http://www.cjh.com.cn/; and the site of the Ministry of Water Resources: http://xxfb.mwr.cn/sq_dxsk.html
