	Date 
	Water levels

(upstream) metres
	Water levels

(downstream) 
metres
	Rate of flow

(inflow)

 (m3/s)
	Rate of flow

(outflow) 
(m3/s)

	Feb  01
	170.38
	39.97
	 5800
	 4850

	     02
	170.43
	39.87
	 5800
	 4840

	     03
	170.45
	39.63
	 5800
	 4850

	     04
	170.33
	39.79
	 5900
	 7310

	     05
	170.20
	39.45
	 6100
	 7320

	     06
	170.11
	39.89
	 5400
	 7350

	     07
	170.12
	39.86
	 5400
	 7330

	     08
	170.21
	40.24
	 6900
	 7300

	     09
	170.21
	40.26
	 6200
	 5500

	     10
	170.18
	40.47
	 6700
	 5540

	     11
	170.20
	40.59
	 7300
	 7920

	     12
	170.28
	40.49
	 7300
	 7940

	     13
	170.30
	40.65
	 7100
	 5500

	     14
	170.18
	40.48
	 7100
	 7970

	     15
	170.16
	40.73
	 7100
	 7930

	     16
	170.12
	40.48
	 6800
	 5470

	     17
	170.12
	40.50
	 6600
	 5480

	     18
	170.03
	40.57
	 6600
	 7930

	     19
	169.96
	41.10
	 6800
	 6930

	     20
	169.98
	41.49
	 7000
	 5460

	     21
	169.84
	41.30
	 7300
	 8880

	     22
	169.71
	41.76
	 7100
	 9900

	     23
	169.69
	41.67
	 7800
	 7380

	     24
	169.60
	41.60
	 8000
	 9940

	     25
	169.73
	41.03
	 8000
	 6140

	     26
	169.45
	41.74
	 8000
	 9960

	     27
	169.28
	41.79
	 7600
	 9960

	     28
	169.19
	41.48
	 7500
	 7490


NOTE:  

1) Water levels (downstream) not the levels recorded below the dam in the dam site, but the levels at Yichang City, about 40 km downstream of the dam.
2）The current numbers are from two sources, including the Changjiang Hydrology, a department of the Changjiang Water Resources Cmmission: http://www.cjh.com.cn/; and the site of the Ministry of Water Resources: http://xxfb.mwr.cn/sq_dxsk.html
